## Slide 1: definitions for polarimetry
Frans Snik
Sterrewacht Leiden

## Slide 2: polarimetric sensitivity
The noise level in Q/I, U/I, V/I above which a real polarization signal can be detected.
Due to “random” effects not directly expressible as a Mueller matrix:
fundamentally limited by photon noise
detector noise
seeing (for temporal modulation)
diferential aberrations (for spatial modulation)
etc.

## Slide 3: polarimetric accuracy
Quantification of how measured Stokes parameters (with sufficient S/N) relate to the real Stokes parameters.
Limited by instrumental polarization effects and imperfect polarimeter.

## Slide 4: polarimetric accuracy
Not a Mueller matrix, as it includes
modulation/demodulation and calibration.

## Slide 5: polarimetric accuracy
transmission
often normalized to 1.0

## Slide 6: polarimetric accuracy
instrumental polarization

## Slide 7: polarimetric accuracy
polarization cross-talk

## Slide 8: polarimetric accuracy
polarization rotation

## Slide 9: polarimetric accuracy
related to polarimetric efficiency

## Slide 10: polarimetric accuracy
impact of polarized light on photometry

## Slide 11: polarimetric accuracy
zero level
scale
if Q,U≈0 or V≈0:

## Slide 12: polarimetric precision
doesn’t have any significance…

## Slide 13: modulation & demodulation
n detected intensities
n x 4 mOdulation matrix
4 x n Demodulation matrix

## Slide 14: polarimetric efficiency
first row of the total Mueller matrix for every modulation state i

## Slide 15: polarimetric efficiency

## Slide 16: polarimetric efficiency

## Slide 17: polarimetric efficiency

## Slide 18: optimum demodulation
O is 4 x 4:
O is n x 4:
optimizes the polarimetric efficiencies
(for one wavelength?)
pseudo-inverse
Del Toro Iniesta & Collados (2000)

## Slide 19: polarimetric efficiency
Describes how efficiently a certain modulation scheme measures a the Stokes parameters w.r.t. the random noise.
Del Toro Iniesta & Collados (2000)

## Slide 20: calibration
Instrumental polarization issues make that modulation matrix O is unknown (at some level).
This is the matrix that needs to be calibrated.
Calibration is applied through demodulation matrix D.
ΔX describes calibration accuracy.
See Asensio Ramos & Collados (2008) for random error propagation.